SPECIFICATIONS – SHOCK TRACK ELECTRIC BIRD ABATEMENT SYSTEM

# PART 1 – GENERAL

# 1.1 	SUMMARY

A. Description of Work: Work for this section includes, but is not limited to the following:

- Electrified wire bird deterrent system.

- Control devices and associated wiring and connections for the work of this section.

## 1.2	QUALITY ASSURANCE

A. Single Source Responsibility: Furnish products from one manufacturer for the entire project.

B. Country of Origin: Product must be manufactured in the U.S.A.

C. Obtain all technical information from the manufacturer.

D. Utilize Bird-B-Gone Authorized Installers who are certified in Bird-B-Gone, Inc. product installations.  Proof of Certification required.

E. Installer shall visit the site to gather all information of existing site conditions.

## 1.3	SUBMITTALS

A.	Product Data: Submit all descriptive information from the manufacturer including catalogs, installation instructions and other descriptive material.

B.	Provide Warranty: Material and installation.

C.	Provide Samples: Each type of hardware, including proposed fastening methods.

D.	Provide statement by official indicating that they are a Certified Installation Company.

# 1.4 	SYSTEM REQUIREMENTS

A. Electrical Requirements:

1. Provide wiring in accordance with applicable local codes and National Electric Code Standard.

2. Test wiring system for insulation to ground.

### 1.5	PRODUCT HANDLING

A.  Protect Bird-B-Gone products from damage before, during and after the installation.

### 1.6	PROJECT CONDITIONS

A. Coordination: Furnish samples of system so installation can be coordinated with existing conditions and within on-site tolerances.

# PART 2 – PRODUCTS

## 2.1	ACCEPTABLE MANUFACTURER

A. Manufacturer:

### Bird-B-Gone, Inc.

# Shock Track – Electric Bird Abatement System

23918 Skyline

Mission Viejo, CA 92692

Tel: 800-392-6915 or 949-472-3122

Fax: 949-472-3116

P.O.C.: Bruce Donoho

## 2.2	PRODUCT DESCRIPTION

A. 	Model Designation:

1.	Shock Track  – Electric Bird Abatement System

a.	Height: 3/4”

b.	Flow Thru Design - To prevent water from damming.

c.	Base Strip: Flexible - Can bend 360° in any direction.

d.	Length: 100 ft. rolls.

e.	Packaging: 100 ft. rolls with all installation hardware needed.

f.	Color: Available in Gray, Stone, Black or Terracotta.

i.	As designated by the product specifications.

g.	Number of rows as determined by the manufacturer and based on project conditions.

h.	Mounting Systems: As determined by the manufacturer and based on project conditions.

i.	Lead-in Wire: Use 14-gauge copper lead-in wire.

- Product made in the U.S.A.

## 2.3	MATERIALS

A.	Shock Track System Kit Components:

1.	Flexible PVC base with braided stainless steel wires heat staked into plastic.

a.	100 ft. rolls.

2.	Plastic mounting clips.

a.	30 per 100 ft. installation.

3.	Bi-lingual Warning labels.

a.	10 per 100 ft. installation.

4.	Power terminal connectors.

a.	2 per installation kit.

5.	Connectors

a.	20 sets per installation kit.

i.	10 pieces - Male.

ii.	10 pieces - Female.

6.  Shock Track Connectors

a.  3 per installation kit.

B.	Shock Track Charger System Options:

1.	CHG-SLR740:

a.	Shock Track Solar Charger:

Input Voltage: 4.0VDC.  
Output Voltage: 7.0KV (=/-) 20% Open Circuit Voltage Intermittent DC.

2.	CHG-AC750

a.	Shock Track Direct Charger: 
Input Voltage: 110-120VAC.

Output Voltage: 800V (=/-)20% Open Circuit Voltage, Intermittent AC Output

3.  CHG-ACBFC:

a.	Shock Track Super Charger Direct Charger: 
Input Voltage: 110-120VAC.  
Output Voltage:  4.5KV (=/-) 20% Voltage, Intermittent DC Output

C.	Construction:

1.	Shock Track: Rigid one-piece construction.

2.	Installation Hardware: Highest quality stainless steel, plastic and metal components.

D.	Adaptation: Tin snips, etc. can be used to cut / adapt the product to desired section length.

## 2.4	MOUNTING SYSTEMS

- Steel, Brick, Stone or Concrete: Attach Shock Track Mounting Brackets and Shock Track using an outdoor construction adhesive that is non-silicone based. Purchase directly from the manufacturer or call for recommended adhesives. If mounting surface warrants, screw or bolt down Shock Track System in conjunction with using construction adhesive.

# PART 3 – EXECUTION

## 3.1	EXAMINATION

A.	Examine the installation area and note any detrimental or hazardous work conditions.  Notify contracting officer or inspector of the detrimental work conditions.

B.	Do not proceed with the installation until conditions are corrected.

## 3.2	SURFACE PREPARATION

A.	Surface should be thoroughly cleaned and free of bird droppings, nesting materials, rust, peeling paint or other debris.

B.	Remove or repair articles that may damage Shock Track Electric Bird Abatement System including overhanging foliage, brush and loose parts on the structure.

## 3.3	INSTALLATION

A. Install Shock Track Electric Bird Abatement System.

1.	Warning:  Electrical track systems should not be used if contact with flammable liquids, vapors, or fumes are possible.  Electric track systems should never be used in and around gas stations.  Call for advice.

2.	Install with appropriate anchors or fasteners for each substrate.

3.	Space materials in accordance with the manufacturer’s recommendations.

a.	Follow angles and contours closely.

4.	Install bilingual warning labels near power source and no more than 10’ apart on buildings, and on windows where electrified wire is on outside ledge.

## 3.4	INSPECTION

A.	Upon completion of installation, test operation to demonstrate satisfactory operation and acceptability.

B.	Visually inspect Shock Track Electric Bird Abatement System for any signs of poor installation, including loose screws, fasteners or un-removed debris.

C.	Immediately correct and repair as necessary.

# END OF SPECIFICATIONS