SPECIFICATIONS – BIRD NET 2000™

PART I – GENERAL

  - SYSTEM DESCRIPTION

- Design Requirements:  Select appropriate size net and fastening system as determined by site conditions and mounting surface.

  - SUMMARY

- Provide labor, materials and supervision to install bird control netting to the building structure.  The bird netting shall stop sparrow, starlings and pigeons from roosting on the building structure.

  - QUALITY ASSURANCE

- Obtain all technical information on products and installation from the manufacturer.

- Utilize Bird·B·Gone® Authorized Installers who are certified in Bird·B·Gone product installations.  Proof of Certification required.

- Installer shall visit the site to gather all information of existing site conditions.

- Single Source Responsibility: Netting and all parts / accessories of the bird netting shall be from one manufacturer for entire project

  - SUBMITTALS

- Product Data: Submit all descriptive information from the manufacturer including catalogs, installation instructions and other descriptive material.

- Provide Warranty: Material and installation.

- Provide Samples: Each type of bird netting used, including proposed fastening methods and hardware.

- Provide statement by official indicating that they are a certified installation company.

  - PRODUCT HANDLING

- Protect Bird·B·Gone products from damage before, during and after the installation.

  - PROJECT CONDITIONS

- Coordination:  Furnish all anchor devices required to fasten system to and around existing building structure.  Coordinate installation with existing conditions and within on-site tolerances.

- Visit site and field measure prior to fabrication and delivery of materials.

  - WARRANTY

- ¾”, 1-1/8” and 2” Heavy Duty 12/6 Bird Net 2000 shall carry a minimum 10-year guarantee against U.V. breakdown for black netting, 3-year guarantee for white and stone netting.

- Installation shall be performed by a Certified Bird·B·Gone Authorized Installer.

1.  Proof of Certification required.

PART2 – PRODUCTS

  - ACCEPTABLE MANUFACTURER

Manufacturer:

Bird B Gone LLC

Bird Net 2000

1921 E. Edinger Ave.

Santa Ana, CA 92705

Tel: 800-392-6915 or 949-472-3122

Fax: 949-472-3116

P.O.C.:  Chris Fields

  - PRODUCT DESCRIPTION

- Model Designation:

  - ¾” Heavy Duty 12/6 Bird Net 2000

  - 1-1/8” Heavy Duty 12/6 Bird Net 2000

  - 2” Heavy Duty 12/6 Bird Net 2000

- Color:  Black, Stone or White

  - MATERIAL

- Material: U.V. stabilized knotted polyethylene net.  Flame resistant (270°F melting point).  Rot-proof, non-conductive and stable in subzero temperatures.

- Construction: 12/6 Bird Net 2000, comprised of 6 monofilaments, each 12/1000” thick with U.V. stabilizers added. Monofilaments are twisted together to produce a strong twine with 610-630 twists per meter.

- Break Strength: ISO 1806 protocol mesh tested in excess of 40 lbs.  Proof of Test Certification Available.

- Sizes:  As required.

- Hardware:  All metal hardware or products are galvanized or stainless steel.

  - MOUNTING SYSTEMS

- Solid Steel:  For corner attachments use Bird·B·Gone eye bolts with lock nuts. For intermediate attachments, use Bird·B·Gone multipurpose cable brackets with powder actuated fire-in-pins.

- Steel I-Beams:  For corner attachments, use eye bolts with lock nuts.  For intermediate attachments, use the appropriate size Bird·B·Gone girder clips.

- Sheet Metal: For both corner and intermediate attachments, use Bird·B·Gone multipurpose cable brackets with self-tapping screws.

- Brick, Concrete and Stone: For corner attachments, use Bird·B·Gone net bolts.  For intermediate attachments, use one of the following Bird·B·Gone attachments: open or closed net loop, net spike, split pin with anchor rivet or multipurpose cable bracket.

PART 3 – EXECUTION

  - EXAMINATION

- Examine the installation area and note any detrimental or hazardous work conditions.  Notify contracting officer or inspector of the detrimental work conditions.

- Do not proceed with installation until conditions are corrected.

  - SURFACE PREPARATION

- Surface should be thoroughly cleaned and free of bird droppings, nesting materials, rust peeling paint or other debris.

- Remove or repair articles that may damage Bird Net 2000 after installation, including overhanging foliage, brush and loose parts on the structure.

  - INSTALLATION

- Install Bird Net 2000 as recommended by the manufacturer.  Bird Net 2000 shall fit the area to be protected perfectly so pest birds cannot enter the protected area, and so the netting blends with the architecture.

- Bird Net 2000 correct mesh sizes shall be specified to ensure exclusion of the correct pest bird.

- Bird Net 2000 shall be installed tightly and securely to ensure a long-lasting installation that is visually hard to see.

  - INSPECTION

- Visually inspect Bird Net 2000 for any signs of poor installation, including loose screws, fasteners or un-removed debris.

- Immediately correct and repair as necessary.

END OF SPECIFICATION