SPECIFICATIONS – BIRD SLOPE

PART 1 – GENERAL

  - SUMMARY

- Design Requirements: Select appropriate size and system as determined by site conditions to prevent birds from landing and roosting on specified surfaces.

  - QUALITY ASSURANCE

- Single Source Responsibility: Furnish products from one manufacturer for entire project.

- Country of Origin: Country of Origin shall be designated at U.S.A.

- Obtain all technical information from the manufacturer.

- Utilize labor or Bird·B·Gone® Authorized Installers who are knowledgeable in Bird·B·Gone product installations.

- Installer shall visit the site to gather all information of existing site conditions.

  - SUBMITTALS

- Product Data: Submit manufacturer’s descriptive literature and product specifications for each product including catalogs, installation instructions other descriptive material.

- Provide Warranty on Material and Installation.

- Provide Samples of Bird Slope excluding proposed fastening methods.

- Provide statement by official indicating that they are a certified installation company.

  - PRODUCT HANDLING

- Protect Bird·B·Gone products from damage before, during and after the installation.

  - PROJECT CONDITIONS

- Coordination: Furnish samples of system(s) so installation can be coordinated with existing conditions and within on-site conditions.

- Visit site and field measure prior to fabrication and delivery of materials.

  - WARRANTY

- Product shall carry a minimum 2-year guarantee against U.V. breakdown.

PART 2 – PRODUCTS

  - ACCEPTABLE MANUFACTURER

Manufacturer:

Bird B Gone LLC

Bird Slope

1921 E. Edinger Ave.

Santa Ana, CA 92705

Tel: 800-392-6915 or 949-472-3122

Fax: 949-472-3116

P.O.C.: Chris Fields

  - PRODUCT DESCRIPTION

- Model Designation:

  - BIRD SLOPE

    - Width of Coverage: 5.5 inches

    - Length: 4 ft. sections

    - Packaging: 48ft. per box. (12) 4ft. sections per box.

    - Colors: Grey or Stone. Can be painted to match desired color.

    - Width of Coverage with Extender: 10 inches

    - Length of Extender: 4 ft. sections

    - End Caps: Use to close off ends of installations as necessary.

    - Mounting System: As determined by the manufacturer and based on project conditions.

- Product made in the U.S.A.

  - MATERIALS

- Material: U.V. protected outdoor grade PVC plastic (sun & weather resistant).

- Construction: Rigid one-piece construction.

- Adaptation: Cut to desired width / length using tablesaw, hacksaw or tin snips.

  - MOUNTING SYSTEMS

- Use an outdoor construction adhesive that is not silicone based.  Purchase from the manufacturer or call for recommended adhesives.

- For under eave installations use Bird Slope Mounting Clips.

PART 3 – EXECUTION

  - EXAMINATION

- Examine the installation area and note any detrimental or hazardous work conditions.  Notify contracting officer or inspector of the detrimental work conditions.

- Do not proceed with installation until conditions are corrected.

  - SURFACE PREPARATION

- Surface should be thoroughly cleaned and free of bird droppings, nesting materials, rust, peeling paint or other debris.

- Remove or repair articles that may damage Bird Slope after installation, including overhanging foliage, brush and loose parts on the structure.

  - INSTALLATION

- Install Bird Slope as recommended by the manufacturer.

- Bird Slope should be installed correctly, covering the entire depth of the surface.

  - Follow the contours and angles closely.

  - Space materials in accordance with manufacturer’s recommendations.

  - Use End Caps to close off where necessary.

  - INSPECTION

- Visually inspect Bird Slope for any signs of poor installation, including loose fasteners and un-removed debris.

- Immediately correct and repair as necessary.

END OF SPECIFICATONS